| Agilent CSA N1996A Spectrum Analyzer Upgrades |  |  |
| --- | --- | --- |

| Most of the Agilent CSA options are available for retrofit. The upgrades are normally either a Enabled Hardware Option or Measurement Personality. Some of the measurement personalities are application specific and may require additional hardware or accessories as well. Retrofit kits requiring the installation of hardware will contain the assemblies to be installed as well as the installation instructions. In many cases, a license key will be required to activate the measurement personality or hardware option. Below you will find information on the ordering requirements for: Internal Hardware Upgrades External Hardware Upgrades Measurement Personality & Firmware update Additional Documentation Options Hardware Upgrades: Many hardware upgrades do require some level of adjustments and performance verification testing once the installation has been completed, many of which will require additional test equipment. For a complete list of all required adjustments and performance verification testing see the installation note for each option upgrade desired. All adjustments will require the use of the Agilent CSA Performance Verification & Adjustment Software, which will also automate the required performance verification testing. The cost of installation must also be considered if the option is to be installed at an Agilent Technologies Service Center. Many upgrades will require the redemption and installation of a license key to be activated. Once a redemption certificate is received they can be redeemed at the Agilent Software License Redemption Web Site Agilent CSA Internal Hardware Upgrades Option Description Upgrade Available? Order As Installation Note Upgrade Contents1 Minimum Firmware Adjustments Required2 Additional Requirements Incompatible With Installed By Installation Time 506 Frequency Range 100KHz to 6GHz No3 n/a n/a n/a n/a n/a n/a n/a n/a n/a BAT Battery Pack (2 each) Yes N1996AK-BAT (inc. 2) or 1420-0891 (inc. 1) n/a H Any No None None Customer n/a PO3 Preamplifier, 3GHz Yes N1996AK-P03 Available L Any Yes6 503 506 Customer 2.0 Hours PO6 Preamplifier, 6GHz Yes N1996AK-P06 Available L Any Yes6 506 503 Customer 2.0 Hours TG3 Tracking Generator, 3GHz No4 N/A Available L Any Yes6 503 & N8995S 506 Customer 2.0 Hours TG6 Tracking Generator, 6GHz No4 N/A Available L Any Yes6 506 & N8995S 503 Customer 2.0 Hours AFM AM/FM Tune & Listen Yes N1996AK-AFM Available L >=A.02.00 No None None Customer 0.25 Hours Agilent CSA External Hardware Upgrade Option Description Upgrade Available? Order As Installation Note Upgradde Contents1 Minimum Firmware Adjustments Required2 Additional Requirements Compatible With Installed By Installation Time 1CM Rackmount Kit with Handles Yes N1996AK-1CM or N1996-60028 Available H Any No None 1CP & SCC Customer 0.5 Hours 1CP Rackmount Kit w/o Handles Yes N1996AK-1CP or N1996-60029 Available H Any No None 1CM & SCC Customer 0.5 Hours BCG External Battery Charger Yes N1996AK-BCG or 1950-4276 n/a H Any No BAT None Customer n/a HTC Hard Transit Case Yes N1996AK-HTC or N1996-80013 n/a H Any No None 1CM & 1CP Customer n/a SCC Soft Carry Case Yes N1996AK-SCC or N1996-80010 n/a H Any No None 1CM & 1CP Customer n/a SRK Stimulus Response Calibration Kit Yes N1996AK-SRK or N1996-60022 n/a H Any No TG3 or TG6 None Customer n/a -- Benchtop Bottom Feet Kit Yes 5000-0913 Available H Any No None None Customer 0.25 Hours -- Benchtop Rear Feet Kit Yes N1996-60021 H Any No None None Customer 0.25 Hours Measurement Personalities: Measurement Personality Options may have specific instrument firmware requirements. All Measurement Personality upgrades require the redemption and installation of a license key to be activated. Once a redemption certificate is received they can be redeemed at the Agilent Software License Redemption Web Site While all Measurement Personality upgrades only require that a license key and software be installed before the personality will function, there may also be additional hardware requirements. Agiletn CSA Measurement Personalities Option Description Upgrade Available? Order As Upgrade Contents1 Minimum Firmware Adjustment Required2 Additional Requirements Incompatible With Installed by Installation Time 271 Spectrogram Measurements Yes N1996AK-271 L Any No None None Customer 0.5 Hours N8995A Stimulus Response Measurement Suite No5 N/A L Any No TG3 or TG6 None Customer 0.5 Hours N8995A-SR3 Stimulus Response Measurement Suite, 3 GHz Yes N8995A-SR3 L >=A.02.00 Yes6 None None Customer 0.25 Hours N8995A-SR6 Stimulus Response Measurement Suite, 6 GHz Yes N8995A-SR6 L >=A.02.00 Yes6 None None Customer 0.25 Hours N8996A AM/FM Modulation Analysis Suite Yes N8996A-1FP L >=A.02.00 No None None Customer 0.25 Hours Agilent CSA Additional Documentation Options Option Description Upgrade Available? Order As Upgrade Contents1 Minimum Firmware Adjustments Required2 Aditional Requirements Incompatible With Installed by Installation Time OBW Service Documentation Yes N1996AK-0BW n/a n/a n/a n/a n/a n/a n/a H = Hardware, S = Software, L = License Key All Adjustments require Performance Varification & Adjustment Software and specified test equipment. Time of purchase only option. Option TG3 has been replaced by N8995A-SR3. Option TG6 has been replaced by N8995A-SR6. N8995A has been replaced by N8995A-SR3 and N8995A-SR6. At the time of manufacture the hardware related to this option was fully adjusted and the option performance was verified to be within its warranted specifications. Within one year of the initial calibration date of the instrument this option is fully calibrated with no further adjustment or verification testing |  | Weitere Informationen Technischer Support Bibliothek |
| --- | --- | --- |