## LED Map
LED No. | Function | Description
0 | Channel 1 | Yellow
1 | Channel 2 | Green
2 | Channel 3
3 | Channel 4
4 | Math | White
5 | General | ???
6 | Cursor | White
7 | Quick Measure | White
8 | Edge | White
9 | Pattern | not used
10 | Pulse Width | White
11 | More | not used
12 | Run/Stop | Green
13 | Run/Stop | Red
14 | Single | Red
15 | Single | Green

## Button Map
Btn No. | Function | Description
0 | Acquire
1 | Channel 1
2 | Channel 2
3 | Channel 3
4 | Channel 4
5 | Display
6 | Utility
7 | Service | not used ????
8 | Save/Recall
9
10 | Main/Delayed | Calls mode menu (main/delayed/XY)
11
12 | Mode/Coupling | Signal coupling and mode selection (Auto/Normal)
13
14 | Edge | Trigger menu
15 | Pulse Width
16 | Cursor
17 | Quick Print
18
19 | Quick Measure
20
21
22
23 | Auto-scale
24
25
26 | Math
27
28
29
30 | Function 1
31 | Function 2
32 | Function 3
33 | Function 4
34 | Function 5
35 | Function 6
36
37 | Run/Stop
38 | Single
39

## Menu Map
Menu
No. | Function | F1 [0] | F2 [1] | F3 [2] | F4 [3] | F5 [4] | F6 [5] | Description
0 | Acquire | Normal | Averaging | AVGS | Realtime
1 | Channel 1 | Coupling | BW limit | Invert | Probe | Units
2 | Channel 2 | Coupling | BW limit | Invert | Probe | Units
3 | Channel 3 | Coupling | BW limit | Invert | Probe | Units
4 | Channel 4 | Coupling | BW limit | Invert | Probe | Units
5 | Display | Persist | Clear Display | Grid intensity | Vectors | Memory Browse
6 | Utility | Calibrate Zero Lines | About Oscilloscope
7 | Service | Start User Cal | Start Self Test | User Cal Status | RS-232 Setup
8 | Save/Recall | Memory | Save | Recall Trace | Default Setup | Clear Display
9 | Print | Print
10 | Timebase | Main | Delayed | X-Y | Roll
11
12 | Trigger Mode | Mode | Coupling | Reject | Holdoff | External Probe
13 | Trigger Mode External | Probe
14 | Trigger Edge | Rising / Falling | Trigger Source 1-4 | Extern | TV CH1 | PreTrigger | Default Setup
15 | Pulse Width | Source | Pulse | Direction | Lower ??? | Bigger ???
16 | Cursor | Source | X1 | X2 | Y1 | Y2 | X1X2/Y1Y2
17 | Quick Print | Print to | Save to BMP | Save to JPG | Save to XLS
18 | Startup
19 | Quick Measurement | Source | Select Measurement | Measure | Clear Measure | Setting ↓ ??? | Thresholds ↓
20 | QM Settings Delay | Source | Edge | Source | Edge | Measure Delay
21 | QM Settings Phase | Source | Edge | Source | Edge | Measure Delay
22 | QM Thresholds | Source | Type | Lower | Middle | Upper | Back ↑
23 | Autoscale | Undo | Search slow Timebase
24 | Trigger Mode TV | Mode | Pos/Neg | Standard | Mode | Count
25
26 | Math | Settings ↓ ??? | FFT | 1 * 2 | 1 - 2 | 1 + 2
27 | FFT Settings | Source | Window |  |  |  | Back ↑
28 | More FFT Settings
29 | Math Settings | Scale | Offset |  |  |  | Back ↑
30
31
32

## Timbase Table
Timebase | Ta | Factor | Sample Depth | Timebase Index | Delayed Timebase
10ns | 1GSa/s | 1(1/5) | 16384(3276) | 2 | 5ns
20ns | 1GSa/s | 1(1/2,5) | 16384(6553) | 3 | 10ns
50ns | 1GSa/s | 1 | 16384 | 4 | 20ns / 10ns
100ns | 1GSa/s | 2 | 8192 | 4 | 50ns / 20ns /10ns
200ns | 1GSa/s | 4 | 4096 | 4 | 100ns / 50ns / 20ns /10ns
500ns | 1GSa/s | 10 | 1638 | 4 | 200ns / 100ns / 50ns / 20ns /10ns
1µs | 1GSa/s | 20 | 819 | 4 | 500ns / 200ns / 100ns / 50ns / 20ns /10ns
2µs | 500MSa/s | 20 | 819 | 5 | 1µs / 500ns / 200ns / 100ns
5µs | 250MSa/s | 25 | 655 | 6 | 2µs / 1µs / 500ns / 200ns
10µs | 25MSa/s | 5 | 3276 | 9 | 5µs / 2µs
20µs | 10MSa/s | 4 | 4096 | 10 | 10µs / 5µs
50µs | 5MSa/s | 5 | 3276 | 11 | 20µs / 10µs
100µs | 2,5MSa/s | 5 | 3276 | 12 | 50µs / 20µs
200µs | 1MSa/s | 4 | 4096 | 13 | 100µs / 50µs
500µs | 500KSa/s | 5 | 3276 | 14 | 200µs / 100µs
1ms | 250KSa/s | 5 | 3276 | 15 | 500µs / 200µs
2ms | 100KSa/s | 4 | 4096 | 16 | 1ms / 500µs
5ms | 50KSa/s | 5 | 3276 | 17 | 2ms / 1ms
10ms | 25KSa/s | 5 | 3276 | 18 | 5ms / 2ms
20ms | 10KSa/s | 4 | 4096 | 19 | 10ms / 5ms
50ms | 5KSa/s | 5 | 3276 | 20 | 20ms / 10ms
100ms | 2,5KSa/s | 5 | 3276 | 21 | 50ms / 20ms
200ms | 1KSa/s | 4 | 4096 | 22 | 100ms / 50ms
500ms | 500Sa/s | 5 | 3276 | 23 | 200ms / 100ms
1s | 250Sa/s | 5 | 3276 | 24 | 500ms / 200ms
2s | 100Sa/s | 4 | 4096 | 25 | 1s / 500ms
5s | 50Sa/s | 5 | 3276 | 26 | 2s / 1s
10s | 25Sa/s | 5 | 3276 | 27 | 5s / 2s
20s | 10Sa/s | 4 | 4096 | 28 | 10s / 5s
50s | 5Sa/s | 5 | 3276 | 29 | 20s / 10s
100s | 2,5Sa/s | 5 | 3276 | 30 | 50s / 20s
200s | 1Sa/s | 4 | 4096 | 31 | 100s / 50s