## Program Structure
Subroutine level 0 | Subroutine level 1 | Subroutine level 2 | Subroutine level 3 | Subroutine level 4
Program Start
AMDFlash::Init();
Hardware::Init();
Display::Init();
Main Loop Start
Hardware::Rotary_Interface();
Display::REMOVE_SPLASH( )
Display::DrawStartScreen( )
Display::StatusUpdate( )
Display::DRAWCURSORDATA(0)
Display::DRAWQMDATA(0)
Display::DRAW_ALL_CURSOR( )
Start_Record( )
ResetTimer( )
ON_Rotary_Position( )
Recalc_Vars( )
Display::CALCPRETRIGGER( )
Display::DRAW_ALL_CURSOR()
ON_Trigger_Level()
UpdateTrigger(17)
Display::DRAWSTATUS(6, 1)
ON_Main_Wheel()
HandleMainWheel( )
MenuButtonCheck(3)
Display::DRAWP( )
Display::TEXTOUTxvbig( )
PIXELP( )
Display::DRAWSTATUS( )
Display::CALCCURSORDATA( )
sprintf( )
RenderText( )
Display::CALCQMDATA( )
Display::StatusUpdate( )
Recalc_Trigger( )
SetupADC( )
Display::DRAWMEMORY( )
Display::CALCPRETRIGGER( )
Display::DRAW_ALL_CURSOR( )
FloatStr::RenderText( )
ON_Timebase()
MenuButtonCheck(-1)
Recalc_Vars( )
Recalc_Trigger( )
Display::CALCCURSORDATA( )
Display::DRAWMEMORY( )
Display::CALCPRETRIGGER( )
Display::CALCCURSORDATA( )
Display::DRAW_ALL_CURSOR( )
ON_Zero_Channel_x( ) x= 1,2,3,4
ON_Voltage_Channel_x( ) x= 1,2,3,4
Hardware::Keyboard_Interface();
ResetTimer( )
Buttonhandler( )
Display::REMOVE_SPLASH()
Display::DrawStartScreen()
Display::StatusUpdate()
Display::DRAWCURSORDATA(0)
Display::DRAWQMDATA(0)
Display::DRAW_ALL_CURSOR( )
Start_Record( )
Display::RemoveStatusBtn( )
Display::DRAWMENUPOPDOWN( )
ClearPlanes( )
Display::CALCCURSORDATA( )
Display::StatusUpdate( )
MenuButtonCheck( )
Set_LED( )
Reset_LED( )
Send_LED( )
UpdateTrigger( )
Display::CALCQMDATA( )
SendData( )
AutoScale( )
F1_Btnhandler( )
Display::DRAWMENUPOPDOWN( )
Display::DRAWMENUPOPUP( )
SetSwitches( )
Hardware::SearchZeros( )
ON_Zero_Channel_n( ) n = 1,2
Display::GRID( )
SetupADC( )
Display::StatusUpdate( )
ClearPlanes( )
Display::DRAW_ALL_CURSOR( )
UpdateTrigger( )
SendData( )
Display::CALCCURSORDATA( )
Display::CALCQMDATA( )
F2_Btnhandler( )
F3_Btnhandler( )
F4_Btnhandler( )
F5_Btnhandler( )
F6_Btnhandler( )
Start_Record( )
-> Test functions
SendData( )
Hardware::Handle_ADC();
READADC( )
WRITEADC( )
ReadOut_Signal( )
READADC( )
READADC_ALL2( )
PREPARE_READADC( )
READADC_ALL( )
SendData( )
Display::ProcessSignalData( );
FFT_CalcSpectrum( )
MathCalculation
Roll/ShiftMode
NoiseFilter
Interpolate( )
Display::DRAWSIGNALS(1)
DRAWSIGNAL_XY( )
PIXELP( )
DRAWLINEP( )
DRAWSIGNAL_TY( )
PIXELP( )
Connect_Pixels( )
DRAWLINEP( )
DRAWSIGNAL_FY( )
Connect_Pixels( )
DRAWZEROLINE( )
CALCQMDATA( )
FloatStr::RenderText( )
Hardware::TransferPlanes();
TransferPlanes_asm_persistant( )
TransferPlanes_asm( )
TransferPlane_Set_Buffer_Adr( )
Display::DRAWSIGNS( )
RemoveZeroSign( )
CLEAR2BYTE( )
RemoveZeroSignBack( )
CLEAR2BYTEBACK( )
DrawZeroSign( )
WRITE2BYTE( )
DrawZeroSignBack( )
WRITE2BYTEBACK( )
Display::UpdateMenu( )
ClearMenuItemAsm( )
DrawMenuItemButton( )
ClearMenuItemTextAsm( )
DrawMenuItem( )
DRAWCURSORDATA( )
Hardware::Transfer_USB_Data();
AMDFlash::Write_Config_Flash();

## LED Map
LED No. | Function | Description
0 | Channel 1 | Yellow
1 | Channel 2 | Green
2 | Channel 3 | Blue
3 | Channel 4 | Rot
4 | Math | White
5 | Main Wheel | White
6 | Cursor | White
7 | Quick Measure | White
8 | Edge | White
9 | Pattern | not used
10 | Pulse Width | White
11 | More | not used
12 | Run/Stop | Green
13 | Run/Stop | Red
14 | Single | Red
15 | Single | Green

## Button Map
Btn No. | Function | Description
0 | Acquire
1 | Channel 1
2 | Channel 2
3 | Channel 3
4 | Channel 4
5 | Display
6 | Utility
7
8 | Save/Recall
9
10 | Main/Delayed | Calls mode menu (main/delayed/XY)
11
12 | Mode/Coupling | Signal coupling and mode selection (Auto/Normal)
13
14 | Edge | Trigger menu
15 | Pulse Width
16 | Cursor
17 | Quick Print
18
19 | Quick Measure
20
21
22
23 | Auto-scale
24
25
26 | Math
27
28
29
30 | Function 1
31 | Function 2
32 | Function 3
33 | Function 4
34 | Function 5
35 | Function 6
36
37 | Run/Stop
38 | Single
39

## Menu Map
Menu
No. | Function | F1 [0] | F2 [1] | F3 [2] | F4 [3] | F5 [4] | F6 [5] | Description
0 | Acquire | Normal | Averaging | Noise Filter |  |  |  | Acquire Menu,
1 | Channel 1 | Coupling | BW limit | Invert | Probe | Units |  | Channel dependent settings
2 | Channel 2 | Coupling | BW limit | Invert | Probe | Units |  | Channel dependent settings
3 | Channel 3 | Coupling | BW limit | Invert | Probe | Units |  | Channel dependent settings
4 | Channel 4 | Coupling | BW limit | Invert | Probe | Units |  | Channel dependent settings
5 | Display | Persistent | Clear Display | Grid Intensity | Vectors | Switch Grid | Switch Drawing | Display settings
6 | Utility | About Oscilloscope | Calibrate Zero Lines | Calibrate ADC | Calibrate DAC | Test Signal | More ↓ | Adjustment and test
7 | Service | Start User Cal | Start Self Test | User Cal Status | RS-232 Setup |  |  | not available
8 | Save/Recall | Memory | Save Trace | Recall Trace | Overlay | Clear Display | Default Setup | Save and load Signals
9 | Print | Print | [5 empty] | not available
10 | Timebase | Main | Delayed | X-Y | Roll Mode | Shift Mode | Browse | Timebase Menu
11 | Delayed Timebase | [6 empty] | not available
12 | Trigger Mode | Mode | Coupling | Reject | Holdoff | External Probe |  | Trigger Settings 1
13 | Trigger Mode External | Probe | [5 empty] | not available
14 | Trigger Edge | Rising / Falling | Trigger Source 1-4 | Extern | TV CH1 | PreTrigger | Default Setup | Trigger Settings 2
15 | Pulse Width | Source | Pulse | Direction | Width | Width |  | Trigger Settings 3
16 | Cursor | Source | X1 | X2 | Y1 | Y2 | X1X2/Y1Y2 | Cursor Settings
17 | Quick Print | Save to BMP | Save to PGM | Save to CSV | Save to ASCII |  |  | Data export and screenshots
18 | Hardware Settings | ADC Setup | Pre Amp Gain |  |  |  | Back ↑ | Special Hardware Settings
19 | Quick Measurement | Source | Select Measurement | Measure | Clear Measure | Setting ↓ | Thresholds ↓ | Quick measure settings
20 | QM Settings Delay | Source | Edge | Source | Edge | Measure Delay |  | not available
21 | QM Settings Phase | Source | Edge | Source | Edge | Measure Delay |  | not available
22 | QM Thresholds | Source | Type | Lower | Middle | Upper | Back ↑ | More QM-Settings
23 | Autoscale | Undo | Search slow Timebase |  |  |  |  | Autoscale functions
24 | Trigger Mode TV | Mode | Pos/Neg | Standard | Mode | Count |  | not available
25 | Extended Utilities | CH1 Delay | CH2 Delay | CH3 Delay | CH4 Delay | Hardware ↓ | Back ↑ | Channel delay and hardware menu
26 | Math | Settings ↓ | FFT | 1 * 2 | 1 - 2 | 1 + 2 |  | Mathematic functions
27 | FFT Settings | Source | Window | Mode | Length | Display Layout | Back ↑ | FFT settings
28 | More FFT Settings | [6 empty] | not available
29 | Math Settings | Scale | Offset |  |  |  | Back ↑ | Math adjustment
30
31
32

## Timbase Table
Timebase | Ta | Factor | Sample Depth | Sel. TB | TB-Register | adc_change-Reg | Delayed Timebase | Zoom-Factor | Offset-Factor | Displ. TB | Start (old) | Stop (old) | Length
2ns | 1GSa/s | 1(1/25) | 16383 | 0 | 0xFFFFFFFF | 0x01000000 | n.a. | 0,04 | 6,576 | 0 | 8180(1973) | 8204(2123) | 24
5ns | 1GSa/s | 1(1/10) | 16384 | 1 | 0xFFFFFFFF | 0x01000000 | 2ns | 0,1 | 6,326 | 1 | 8162(1898) | 8222(2198) | 60
10ns | 1GSa/s | 1(1/5) | 16384 | 2 | 0xFFFFFFFF | 0x01000000 | 5ns /2ns | 0,2 | 27,000 | 2 | 8132(8117) | 8252(8267) | 120
20ns | 1GSa/s | 1(1/2,5) | 16384 | 3 | 0xFFFFFFFF | 0x01000000 | 10ns /5ns /2ns | 0,4 | 26,750 | 3 | 8072(8042) | 8312(8342) | 240
50ns | 1GSa/s | 1 | 16384 | 4 | 0xFFFFFFFF | 0x01000000 | 20ns / 10ns /5ns | 1,0 | 26,306 | 4 | 7892 | 8492 | 600
100ns | 1GSa/s | 2 | 8192 | 4 | 0xFFFFFFFF | 0x01000000 | 50ns / 20ns /10ns | 2,0 | 25,306 | 5 | 7592 | 8792 | 1200
200ns | 1GSa/s | 4 | 4096 | 4 | 0xFFFFFFFF | 0x01000000 | 100ns / 50ns / 20ns /10ns | 4,0 | 23,299 | 6 | 6992 | 9392 | 2400
500ns | 1GSa/s | 10 | 1638 | 4 | 0xFFFFFFFF | 0x01000000 | 200ns / 100ns / 50ns / 20ns /10ns /5ns | 10,0 | 17,306 | 7 | 5192 | 11192 | 6000
1µs | 1GSa/s | 20 | 819 | 4 | 0xFFFFFFFF | 0x01000000 | 500ns / 200ns / 100ns / 50ns / 20ns /10ns | 20,0 | 7,306 | 8 | 2192 | 14192 | 12000
2µs | 500MSa/s | 20 | 819 | 5 | 0xFFFFFFFE | 0x01000000 | 1µs / 500ns / 200ns / 100ns | 20,0 | 7,306 | 9 | 2192 | 14192 | 12000
5µs | 250MSa/s | 25 | 655 | 6 | 0xFFFFFFFD | 0x01000000 | 2µs / 1µs / 500ns / 200ns | 25,0 | 2,309 | 10 | 692 | 15692 | 15000
10µs | 25MSa/s | 5 | 3276 | 9 | 0xFFFFFFFB | 0x01000000 | 5µs / 2µs | 5,0 | 1,826 | 11 | 548 | 3548 | 3000
20µs | 10MSa/s | 4 | 4096 | 10 | 0xFFFFFFF3 | 0x01000000 | 10µs / 5µs | 4,0 | 2,826 | 12 | 848 | 3248 | 2400
50µs | 5MSa/s | 5 | 3276 | 11 | 0xFFFFFFE7 | 0x01000000 | 20µs / 10µs | 5,0 | 1,826 | 13 | 548 | 3548 | 3000
100µs | 2,5MSa/s | 5 | 3276 | 12 | 0xFFFFFFCE | 0x01000000 | 50µs / 20µs | 5,0 | 1,826 | 14 | 548 | 3548 | 3000
200µs | 1MSa/s | 4 | 4096 | 13 | 0xFFFFFF83 | 0x01000000 | 100µs / 50µs | 4,0 | 2,826 | 15 | 848 | 3248 | 2400
500µs | 500KSa/s | 5 | 3276 | 14 | 0xFFFFFF06 | 0x01000000 | 200µs / 100µs | 5,0 | 1,826 | 16 | 548 | 3548 | 3000
1ms | 250KSa/s | 5 | 3276 | 15 | 0xFFFFFE0C | 0x01000000 | 500µs / 200µs | 5,0 | 1,826 | 17 | 548 | 3548 | 3000
2ms | 100KSa/s | 4 | 4096 | 16 | 0xFFFFFB1E | 0x01000000 | 1ms / 500µs | 4,0 | 2,826 | 18 | 848 | 3248 | 2400
5ms | 50KSa/s | 5 | 3276 | 17 | 0xFFFFF63C | 0x01000000 | 2ms / 1ms | 5,0 | 1,826 | 19 | 548 | 3548 | 3000
10ms | 25KSa/s | 5 | 3276 | 18 | 0xFFFFEC78 | 0x01000000 | 5ms / 2ms | 5,0 | 1,826 | 20 | 548 | 3548 | 3000
20ms | 10KSa/s | 4 | 4096 | 19 | 0xFFFFCF2C | 0x01000000 | 10ms / 5ms | 4,0 | 2,826 | 21 | 848 | 3248 | 2400
50ms | 5KSa/s | 5 | 3276 | 20 | 0xFFFF9E58 | 0x01000000 | 20ms / 10ms | 5,0 | 1,826 | 22 | 548 | 3548 | 3000
100ms | 2,5KSa/s | 5 | 3276 | 21 | 0xFFFF3CB0 | 0x01000000 | 50ms / 20ms | 5,0 | 1,826 | 23 | 548 | 3548 | 3000
200ms | 1KSa/s | 4 | 4096 | 22 | 0xFFFE17B8 | 0x01000000 | 100ms / 50ms | 4,0 | 2,826 | 24 | 848 | 3248 | 2400
500ms | 500Sa/s | 5 | 3276 | 23 | 0xFFFC2F70 | 0x01000000 | 200ms / 100ms | 5,0 | 1,826 | 25 | 548 | 3548 | 3000
1s | 250Sa/s | - | roll/shift mode | 24 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 26 | 7892 | 8492 | 600
2s | 100Sa/s | - | roll/shift mode | 25 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 27 | 7892 | 8492 | 600
5s | 50Sa/s | - | roll/shift mode | 26 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 28 | 7892 | 8492 | 600
10s | 25Sa/s | - | roll/shift mode | 27 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 29 | 7892 | 8492 | 600
20s | 10Sa/s | - | roll/shift mode | 28 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 30 | 7892 | 8492 | 600
50s | 5Sa/s | - | roll/shift mode | 29 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 31 | 7892 | 8492 | 600
100s | 2,5Sa/s | - | roll/shift mode | 30 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 32 | 7892 | 8492 | 600
200s | 1Sa/s | - | roll/shift mode | 31 | 0xFFFFFFFF | 0x01000000 | n.a. | 1,0 | 1,0 | 33 | 7892 | 8492 | 600
Ta - sampling rate
Factor - number of real samples - 1 that are dropped out between two shown samples (step width)
Sample Depth - number of used samples from the 16384 real samples (16384 / Factor)
Sel.TB - Index for the array fetch, value of the variable Selected_Timebase
adc_change-Register
interpolated timebase
interpolated timebase
real timebase

## Delayed Tb Table
Timebase | Delayed Tb | Ta | Factor | Del. Factor | Tb Ratio | Tb Idx | Sel. TB | Del. Sel. TB
2ns | n.a. | 1GSa/s | 1(0,04) | n.a. | n.a. | 0 | 0 | 0
5ns | 2ns | 1GSa/s | 1(0,1) | 1(0,04) | 2,5 | 1 | 1 | 0
10ns | 2ns | 1GSa/s | 1(0,2) | 1(0,04) | 5 | 2 | 2 | 1
10ns | 5ns | 1GSa/s | 1(0,2) | 1(0,1) | 2 | 2 | 2 | 0
20ns | 2ns | 1GSa/s | 1(0,4) | 1(0,04) | 10 | 3 | 3 | 2
20ns | 5ns | 1GSa/s | 1(0,4) | 1(0,1) | 4 | 3 | 3 | 1
20ns | 10ns | 1GSa/s | 1(0,4) | 1(0.2) | 2 | 3 | 3 | 0
50ns | 5ns | 1GSa/s | 1 | 1(0,1) | 10 | 4 | 4 | 2
50ns | 10ns | 1GSa/s | 1 | 1(0,2) | 5 | 4 | 4 | 1
50ns | 20ns | 1GSa/s | 1 | 1(0,4) | 2,5 | 4 | 4 | 0
100ns | 5ns | 1GSa/s | 2 | 1(0,1) | 20 | 5 | 4 | 3
100ns | 10ns | 1GSa/s | 2 | 1(0,2) | 10 | 5 | 4 | 2
100ns | 20ns | 1GSa/s | 2 | 1(0,4) | 5 | 5 | 4 | 1
100ns | 50ns | 1GSa/s | 2 | 1 | 2 | 5 | 4 | 0
200ns | 5ns | 1GSa/s | 4 | 1(0,1) | 40 | 6 | 4 | 4
200ns | 10ns | 1GSa/s | 4 | 1(0,2) | 20 | 6 | 4 | 3
200ns | 20ns | 1GSa/s | 4 | 1(0,4) | 10 | 6 | 4 | 2
200ns | 50ns | 1GSa/s | 4 | 1 | 4 | 6 | 4 | 1
200ns | 100ns | 1GSa/s | 4 | 2 | 2 | 6 | 4 | 0
500ns | 5ns | 1GSa/s | 10 | 1(0,1) | 100 | 7 | 4 | 5
500ns | 10ns | 1GSa/s | 10 | 1(0,2) | 50 | 7 | 4 | 4
500ns | 20ns | 1GSa/s | 10 | 1(0,4) | 25 | 7 | 4 | 3
500ns | 50ns | 1GSa/s | 10 | 1 | 10 | 7 | 4 | 2
500ns | 100ns | 1GSa/s | 10 | 2 | 5 | 7 | 4 | 1
500ns | 200ns | 1GSa/s | 10 | 4 | 2,5 | 7 | 4 | 0
1µs | 10ns | 1GSa/s | 20 | 1(0,2) | 100 | 8 | 4 | 5
1µs | 20ns | 1GSa/s | 20 | 1(0,4) | 50 | 8 | 4 | 4
1µs | 50ns | 1GSa/s | 20 | 1 | 20 | 8 | 4 | 3
1µs | 100ns | 1GSa/s | 20 | 2 | 10 | 8 | 4 | 2
1µs | 200ns | 1GSa/s | 20 | 4 | 5 | 8 | 4 | 1
1µs | 500ns | 1GSa/s | 20 | 10 | 2 | 8 | 4 | 0
2µs | 100ns | 500MSa/s | 20 | 1 | 20 | 9 | 5 | 3
2µs | 200ns | 500MSa/s | 20 | 2 | 10 | 9 | 5 | 2
2µs | 500ns | 500MSa/s | 20 | 5 | 4 | 9 | 5 | 1
2µs | 1µs | 500MSa/s | 20 | 10 | 2 | 9 | 5 | 0
5µs | 200ns | 250MSa/s | 25 | 1 | 25 | 10 | 6 | 3
5µs | 500ns | 250MSa/s | 25 | 2,5 | 10 | 10 | 6 | 2
5µs | 1µs | 250MSa/s | 25 | 5 | 5 | 10 | 6 | 1
5µs | 2µs | 250MSa/s | 25 | 10 | 2,5 | 10 | 6 | 0
10µs | 2µs | 25MSa/s | 5 | 1 | 5 | 11 | 9 | 1
10µs | 5µs | 25MSa/s | 5 | 2,5 | 2 | 11 | 9 | 0
20µs | 5µs | 10MSa/s | 4 | 1 | 4 | 12 | 10 | 1
20µs | 10µs | 10MSa/s | 4 | 2 | 2 | 12 | 10 | 0
50µs | 10µs | 5MSa/s | 5 | 1 | 5 | 13 | 11 | 1
50µs | 20µs | 5MSa/s | 5 | 2 | 2,5 | 13 | 11 | 0
100µs | 20µs | 2,5MSa/s | 5 | 1 | 5 | 14 | 12 | 1
100µs | 50µs | 2,5MSa/s | 5 | 2,5 | 2 | 14 | 12 | 0
200µs | 50µs | 1MSa/s | 4 | 1 | 4 | 15 | 13 | 1
200µs | 100µs | 1MSa/s | 4 | 2 | 2 | 15 | 13 | 0
500µs | 100µs | 500KSa/s | 5 | 1 | 5 | 16 | 14 | 1
500µs | 200µs | 500KSa/s | 5 | 2 | 2,5 | 16 | 14 | 0
1ms | 200µs | 250KSa/s | 5 | 1 | 5 | 17 | 15 | 1
1ms | 500µs | 250KSa/s | 5 | 2,5 | 2 | 17 | 15 | 0
2ms | 500µs | 100KSa/s | 4 | 1 | 4 | 18 | 16 | 1
2ms | 1ms | 100KSa/s | 4 | 2 | 2 | 18 | 16 | 0
5ms | 1ms | 50KSa/s | 5 | 1 | 5 | 19 | 17 | 1
5ms | 2ms | 50KSa/s | 5 | 2 | 2,5 | 19 | 17 | 0
10ms | 2ms | 25KSa/s | 5 | 1 | 5 | 20 | 18 | 1
10ms | 5ms | 25KSa/s | 5 | 2,5 | 2 | 20 | 18 | 0
20ms | 5ms | 10KSa/s | 4 | 1 | 4 | 21 | 19 | 1
20ms | 10ms | 10KSa/s | 4 | 2 | 2 | 21 | 19 | 0
50ms | 10ms | 5KSa/s | 5 | 1 | 5 | 22 | 20 | 1
50ms | 20ms | 5KSa/s | 5 | 2 | 2,5 | 22 | 20 | 0
100ms | 20ms | 2,5KSa/s | 5 | 1 | 5 | 23 | 21 | 1
100ms | 50ms | 2,5KSa/s | 5 | 2,5 | 2 | 23 | 21 | 0
200ms | 50ms | 1KSa/s | 4 | 1 | 4 | 24 | 22 | 1
200ms | 100ms | 1KSa/s | 4 | 2 | 2 | 24 | 22 | 0
500ms | 100ms | 500Sa/s | 5 | 1 | 5 | 25 | 23 | 1
500ms | 200ms | 500Sa/s | 5 | 2 | 2,5 | 25 | 23 | 0